***Distributor 4110*** is used for connection of up to 4 video monitors.

It has 4 ports with RG45 terminals. Each port is assigned to a specific button on the door station as shown:

****

2 and 4-button Door Stations comes with one distributor 4110. Code must be set to 001

6 and 8-button Door Stations comes with two distributors 4110. Code on first must be set to 001 and code on the second to 002 according the diagram below:

****

***Two type of connection the system***



******

 ***DOOR STATION TO THE DISTRIBUTOR CONNECTION***

******

***Monitors to the distributor connection***